| Standard | Title / Description | Version | Publication | Remarks / Limitations |
| --- | --- | --- | --- | --- |
| IEC 60068-2-1 | Environmental testing Part 2: Tests - Test A: Cold | ED. 6.0 | Mar-2007 |  |
| IEC 60068-2-2 | Basic environmental testing procedures Part 2: Tests; Tests B: dry heat | Ed. 5.0 | Jul-2007 |  |
| IEC 60068-2-6 | Environmental testing Part 2: Tests - Test Fc: Vibration (sinusoidal) | Ed. 7.0 | Dec-2007 |  |
| IEC 60068-2-11 | Basic environmental testing procedures. Part 2: Tests. Test Ka: Salt mist | Ed. 3.0 | Jan-1981 |  |
|  | Basic environmental testing procedures. Part 2: Tests. Test Ka: Salt mist | Ed. 3.0 COR-1 | Dec-1999 |  |
|  | Basic environmental testing procedures. Part 2: Tests. Test Ka: Salt mist | Ed. 4.0 | Mar-2021 |  |
| IEC 60068-2-14 | Environmental testing Part 2-14: Tests; Test N: Change of temperature | Ed. 6.0 | Jan-2009 | Excluding Test Nc: Rapid change, two-fluid-bath method |
|  | Environmental testing Part 2-14: Tests; Test N: Change of temperature | Ed. 7.0 | Jul-2023 | Excluding Test Nc: Rapid change, two-fluid-bath method |
| IEC 60068-2-27 | Environmental testing Part 2-27: Tests - Test Ea and guidance: Shock | Ed. 4.0 | Feb-2008 |  |
| IEC 60068-2-30 | Environmental testing Part 2-30: Tests - Test Db: Damp heat, cyclic (12 h + 12 h cycle) | Ed. 3.0 | Aug-2005 |  |
| IEC 60068-2-31 | Environmental testing Part 2-31: Tests - Test Ec: Rough handling shocks, primarily for equipment-type specimens | Ed. 2.0 | Mai-2008 | only Test Free Fall - Procedure 1 |
| IEC 60068-2-38 | Environmental testing Part 2-38: Tests - Test Z/AD: Composite temperature/humidity cyclic test | Ed. 2.0 | Jan-2009 |  |
|  | Environmental testing Part 2-38: Tests - Test Z/AD: Composite temperature/humidity cyclic test | Ed. 3.0 | Mar-2021 |  |
| IEC 60068-2-52 | Environmental testing Part 2: Tests - Test Kb: Salt mist, cyclic (sodium chloride solution) | Ed. 2.0 | Feb-1996 |  |
|  | Environmental testing Part 2: Tests - Test Kb: Salt mist, cyclic (sodium chloride solution) | Ed. 2.0 COR-1 | Jul-1996 |  |
|  | Environmental testing Part 2-52: Tests - Test Kb: Salt mist, cyclic (sodium chloride solution) | Ed. 3.0 | Nov-2017 | Excluding Test method 8: Test with acidified salt solution |
| IEC 60068-2-64 | Environmental testing Part 2-64: Tests - Test Fh: Vibration, broadband random and guidance | Ed. 2.0 | Apr-2008 |  |
|  | Environmental testing Part 2-64: Tests - Test Fh: Vibration, broadband random and guidance | Ed. 2.0 AMD-1 | Oct-2019 |  |
|  | Environmental testing Part 2-64: Tests - Test Fh: Vibration, broadband random and guidance | Ed. 2.1 | Oct-2019 | without Kurtosis Test |
| IEC 60068-2-67 | Environmental testing Part 2: Tests - Test Cy: Damp heat, steady state, accelerated test primarily intended for components | Ed. 1.0 | Dec-1995 |  |
|  | Environmental testing Part 2: Tests - Test Cy: Damp heat, steady state, accelerated test primarily intended for components | Ed. 1.0 AMD-1 | Jul-2019 |  |
|  | Environmental testing Part 2-67: Tests - Test Cy: Damp heat, steady state, accelerated test primarily intended for components | Ed. 1.1 | Jul-2019 |  |
| IEC 60068-2-78 | Environmental testing Part 2-78: Tests - Test Cab: Damp heat, steady state | Ed. 2.0 | Oct-2012 |  |
| ISO 20653 | Road vehicles - Degrees of protection (IP code) Protection of electrical equipment against foreign objects, water, access | Ed. 2.0 | Feb-2013 | without IP1X - IP4X |
|  | Road vehicles - Degrees of protection (IP code) Protection of electrical equipment against foreign objects, water, access | Ed. 3.0 | Aug-2023 | without IP1X - IP4X |

Contact Person	Rainer Diepold	A QO QL EMEA NG	rainer.diepold@aumovio.com	+49-841-881-2227